## Sheet1
Study | n_count | n | N | bias | lower | upper | corrected | comparison | multiple | patients | comments | clinical_setting | RoB_selection | RoB_spoton | RoB_comparator | RoB_flow
Eshraghi, 2014 | 103 | 103 | 35717 | -0.23 | -1.05 | 0.59 | Yes | PA | Yes | Cardiac Surgery | Intraoperative and postoperative | Intra- and Postoperative | low | low | low | low
Eshraghi, 2014 | 103 | 103 | 13929 | -0.08 | -0.96 | 0.8 | Yes | PA | Yes | Cardiac Surgery | Intraoperative, off cardiopulmonary bypass | Intraoperative | low | low | low | low
Eshraghi, 2014 | 103 | 103 | 21788 | -0.32 | -1.07 | 0.43 | Yes | PA | Yes | Cardiac Surgery | Postoperative | Postoperative | low | low | low | low
Iden, 2015 | 83 | 83 | 249 | -0.35 | -0.9184 | 0.2184 | No | Sublingual | Yes | Elective Surgery |  | Intraoperative | unclear | unclear | high | high
Iden, 2015 | 83 | 83 | 249 | 0.07 | -0.3416 | 0.4816 | No | NPA | Yes | Elective Surgery |  | Intraoperative | unclear | unclear | high | high
Makinen, 2016 | 15 | 15 |  | 0.08 | -0.25 | 0.4 | Yes | Eso | Yes | Vascular Surgery |  | Intraoperative | low | low | low | low
Makinen, 2016 | 15 | 15 |  | -0.05 | -0.56 | 0.47 | Yes | PA | Yes | Cardiac Surgery | Off cardiopulmonary bypass | Intraoperative | low | low | low | low
Makinen, 2016 | 15 | 15 |  | -0.12 | -0.94 | 0.71 | Yes | NPA | Yes | Cardiac Surgery | On and off cardiopulmonary bypass | Intraoperative | low | low | low | low
Boisson, 2018 | 22 | 22 | 1708 | -0.1 | -0.5 | 0.3 | Yes | Ax | Yes | Abdominal Surgery | Slow core temperature changes | Intraoperative | low | low | low | low
Boisson, 2018 |  | 22 | 72 | 0.5 | -1.2 | 2.2 | Yes | Ax | Yes | Abdominal Surgery | Rapid core temperature changes | Intraoperative | low | low | low | low
Boisson, 2018 | 49 | 49 | 3245 | 0.1 | -0.4 | 0.6 | Yes | Eso | Yes | Abdominal Surgery | Slow core temperature changes | Intraoperative | low | low | low | low
Boisson, 2018 |  | 49 | 101 | 0.6 | -1.2 | 2.4 | Yes | Eso | Yes | Abdominal Surgery | Rapid core temperature changes | Intraoperative | low | low | low | low
Pesonen, 2018 | 29 | 29 |  | 0.11 | -0.54 | 0.75 | Yes | NPA | Yes | Craniotomy |  | Intraoperative | unclear | low | low | low
Pesonen, 2018 | 29 | 29 |  | -0.14 | -0.81 | 0.52 | Yes | Bladder | Yes | Craniotomy |  | Intraoperative | unclear | low | low | low
Carvalho, 2019 | 54 | 54 | 1664 | 0.14 | -0.39 | 0.66 | Yes | Eso | Yes | Pediatric Surgery |  | Intraoperative | high | unclear | unclear | high
Dahyot-Fizelier, 2017 | 7 | 7 | 1850 | 0 | -0.36 | 0.36 | Yes | Iliac | Yes | ICU |  | ICU | low | low | low | low
Dahyot-Fizelier, 2017 | 52 | 52 | 61298 | -0.19 | -0.72 | 0.34 | Yes | Eso | Yes | ICU |  | ICU | low | low | low | low
Idei, 2016 | 26 | 26 | 53495 | 0.82 | 0.31 | 1.33 | No | Rectal | Yes | Pediatric ICU |  | ICU | unclear | unclear | unclear | unclear
Jack, 2019 | 29 | 29 | 2511 | 0.02 | -0.5 | 0.5 | Yes | Eso | Yes | Elective Surgery |  | Intraoperative | low | unclear | unclear | low
Kato, 2015 | 20 | 20 | 16407 | -0.28 | -1.16 | 0.6 | No | PA | Yes | ICU |  | ICU | unclear | unclear | unclear | unclear
Kollmann Camaiora, 2019 | 66 | 66 | 401 | -0.27 | -0.61 | 0.55 | No | Eso | Yes | Gynecological Surgery |  | Intraoperative | high | unclear | unclear | high
Schell-Chaple, 2018 | 9 | 9 | 180 | -0.07 | -0.54 | 0.4 | No | Bladder | Yes | Febrile ICU Patients |  | ICU | high | high | high | unclear
Schell-Chaple, 2018 | 29 | 29 | 580 | -0.24 | -0.81 | 0.33 | No | Rectal | Yes | Febrile ICU Patients |  | ICU | high | high | high | unclear
Tachibana, 2019 | 10 | 10 | 303 | 0.01 | -0.47 | 0.49 | No | Eso | Yes | Laparosopic Surgery |  | Intraoperative | low | low | low | low
Vendrell Jorda, 2016 | 31 | 31 |  | 0.15 | -0.15 | 0.45 | No | Eso | Yes | Cytoreductive Surgery and Hyperthermic Intraperitoneal Chemotherapy | Cytoreductive Surgery Phase | Intraoperative | low | low | low | unclear
Vendrell Jorda, 2016 |  | 31 |  | 0.19 | -0.26 | 0.64 | No | Eso | Yes | Cytoreductive Surgery and Hyperthermic Intraperitoneal Chemotherapy | Hyperthermic Intra-peritoneal Chemotherapy Phase | Intraoperative | low | low | low | unclear
Vendrell Jorda, 2016 |  | 31 |  | 0.11 | -0.18 | 0.4 | No | Eso | Yes | Cytoreductive Surgery and Hyperthermic Intraperitoneal Chemotherapy | Review Phase | Intraoperative | low | low | low | unclear
West, 2018 | 170 | 170 | 109570 | -0.11 | -0.75 | 0.53 | Yes | NPA | Yes | Elective surgery |  | Intraoperative | unclear | low | high | high
West, 2018 | 24 | 24 | 22482 | -0.06 | -0.64 | 0.52 | Yes | Sublingual | Yes | Elective surgery |  | Intraoperative | unclear | low | high | high
Gomez-Romero, 2019 | 41 | 41 | 289 | 0.21 | -2.27 | 2.71 | Yes | PA | Yes | Elective surgery |  | Intraoperative | unclear | high | high | low